## DAILY COMMON INVERTER GENERATIO
INVERTER DAILY GENERATION REPORT FOR PLANT AND TOWNSHIP
Date
2026-10-18 20:18
DAILY GENERATION FOR PLANT
Name | PUMP HOUSE, TRAFFIC & CANTEEN |  | NARMADA | MCC 14-15 | ADMIN CLUSTER & ADMINISTRATIVE BUILDING | MPSS & MCC 13-16 | MCC-2 | BAGGING | INSTRUMENT BUILDING | R&D LAB | TECHNICAL BUILDING & TECH BUILDING OLD | MECHANICAL MORKSHOP | UREA | GET HOSTEL 1&2 | TOTAL GENERATION
CAPACITY (KW) | 229.36 |  | 236.0 | 45.30 | 70.0 | 70.0 | 60.0 | 113.40 | 40.30 | 10.0 | 28.60 | 44.40 | 10.0 | 37.90 | 925.26
| KWH |  | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH
2026-10-18 20:18 | 355.47 |  | 305.78 | 0.7 | 9 | 209 | 122 | 199.19 | 128.6 | 28 | 118.11 | 2.8 | 28.54 | 0 | 1299.38
DAILY GENERATION FOR TOWNSHIP
Name | SHOPPING CENTRE |  | MP HALL | BARAT GHAR | HOSPITAL | BANK & POST OFFICE | TOTAL GENERATION | TOTAL NET GENERATION
CAPACITY | 72.135 |  | 32.13 | 25.0 | 20.16 | 20.16 | 169.585 | 1472.515
| KWH |  | KWH | KWH | KWH | KWH | KWH | KWH
2026-10-18 20:18 | 92.4 |  | 78 | 0 | 23.75 | 0.04 | 194.19 | 1881.17